ROI G. Biv

ROI Guided Boundary Identification and Validation

Suite2p Integration Supplement

Spatiotemporal Detection + Cellpose Boundary Refinement

Lenovo Legion Pro 5i Gen 8 ¦ Pop!_OS 22.04 LTS RTX 4060 8GB ¦ 16GB DDR5 ¦ Suite2p + Cellpose 3.x

Supplement to the ROI G. Biv Complete Setup and Fine-Tuning Guide

SECTION S1 | Why Suite2p + Cellpose

# S1. The Problem with Projection-Only Segmentation

Cellpose operates on static 2D images — typically mean or max intensity projections of your raw calcium imaging stacks. This works well for neurons that are consistently bright, but it has a fundamental blind spot: neurons that fire rarely contribute almost nothing to the mean projection. A neuron that produces a single calcium transient across a five-minute recording may be invisible in the averaged image, even though a human scrubbing through the movie would immediately spot the brief flash.

Suite2p addresses this by processing the full spatiotemporal video stack. Its detection pipeline uses singular value decomposition (SVD) to identify correlated activity patterns across frames, then non-negative matrix factorization to extract individual neuron spatial footprints. A neuron that fires even once creates a distinct temporal component that separates from background noise, regardless of how faint it appears in the projection.

## S1.1 Combined Pipeline Architecture

The integration strategy uses each tool where it excels:

| Component | Role |
| --- | --- |
| Suite2p | Spatiotemporal detection: finds all active neurons including sparsely-firing cells invisible in projections |
| Cellpose (fine-tuned) | Spatial refinement: provides tight, precise ROI boundaries from the mean projection |
| Merge script | Union of both ROI sets: Cellpose boundaries where available, Suite2p footprints for neurons Cellpose missed |
| Cellpose retraining | Feed merged ROIs back as training data to teach Cellpose about previously-missed cell types |

NOTE This supplement assumes you have completed the base ROI G. Biv guide through at least Section 5 (initial Cellpose training). All paths and environment names reference that guide’s conventions.

SECTION S2 | Installation

# S2. Installing Suite2p in the ROI G. Biv Environment

## S2.1 Install into Existing Environment

Suite2p can be installed directly into your existing roigbiv conda environment. Since you already have PyTorch with CUDA 12.1 and Cellpose installed, Suite2p will use those dependencies automatically.

conda activate roigbiv # Install Suite2p (without GUI to avoid PyQt conflicts with Cellpose GUI) pip install suite2p # Verify installation python -c "import suite2p; print('Suite2p version:', suite2p.__version__)" # Verify GPU detection (should already work from Cellpose setup) python -c "import torch; print('CUDA:', torch.cuda.is_available())"

WARNING If you encounter version conflicts between Suite2p and your existing Cellpose installation, create a separate environment instead: conda create -n roigbiv-s2p python=3.10, then install both packages fresh. The merge script (Section S5) works on output files and does not require both packages in the same environment.

## S2.2 Alternative: Separate Environment

If you prefer isolation, install Suite2p in its own environment. This avoids any dependency conflicts but requires switching environments between Suite2p and Cellpose steps.

conda create -n suite2p python=3.10 -y conda activate suite2p pip install torch torchvision torchaudio --index-url \ https://download.pytorch.org/whl/cu121 pip install suite2p pip install tifffile numpy scipy

## S2.3 Directory Structure Update

Add Suite2p directories to the existing project layout:

mkdir -p ~/roigbiv/{suite2p/{output,ops},data/merged_masks} # Updated layout (additions marked with *): # ~/roigbiv/ # ├── data/ # │ ├── raw/ # original .tif stacks # │ ├── annotated/ # mean projections for Cellpose # │ ├── masks/ # Cellpose-format uint16 label masks # │ └── merged_masks/ # * combined Suite2p + Cellpose masks # ├── suite2p/ # * Suite2p workspace # │ ├── output/ # * Suite2p run outputs (stat.npy, etc.) # │ └── ops/ # * saved ops configurations # ├── models/ # ├── scripts/ # ├── logs/ # └── inference/

SECTION S3 | Suite2p Configuration

# S3. Configuring Suite2p for Two-Photon Calcium Imaging

## S3.1 The ops Dictionary

Suite2p is configured through a Python dictionary called ops. Every parameter of the pipeline — registration, detection, extraction, deconvolution — is controlled through this dictionary. Below are the parameters calibrated for your RTX 4060 setup and single-plane two-photon recordings.

## S3.2 Essential Parameters

| Parameter | Recommended Value | Notes |
| --- | --- | --- |
| nplanes | 1 | Single imaging plane (adjust if you have multi-plane data) |
| nchannels | 1 | Single channel (GCaMP). Set to 2 if you have a structural channel. |
| functional_chan | 1 | Which channel contains the calcium signal (1-indexed) |
| tau | 1.0 | GCaMP6s decay time in seconds. Use 0.7 for GCaMP6f, 0.5 for jGCaMP8f. |
| fs | [your frame rate] | Sampling rate in Hz. Critical — must match your acquisition. |
| do_registration | 1 | Enable motion correction (recommended for all in vivo data) |
| nimg_init | 300 | Number of frames for reference image. Increase for noisy data. |
| batch_size | 500 | Frames per batch for registration. Safe for 8GB VRAM at 512x512. |
| spatial_scale | 0 | 0 = multi-scale detection. Best for mixed cell sizes. |
| threshold_scaling | 1.0 | Lower values detect more (dimmer) ROIs. Start at 1.0, reduce to 0.5 for recall. |
| max_iterations | 20 | Iterations for ROI detection. Default is fine. |
| connected | True | Keep ROIs contiguous. Set False only for dendrite imaging. |
| nbinned | 5000 | Max binned frames for detection. Increase for very long recordings. |
| allow_overlap | False | Whether ROIs can share pixels. Keep False for soma imaging. |
| high_pass | 100 | High-pass filter frame size for neuropil. 100 works for most 2P data. |
| inner_neuropil_radius | 2 | Pixels between ROI and neuropil annulus |
| min_neuropil_pixels | 350 | Minimum neuropil pixels for subtraction estimate |

## S3.3 Classifier and Detection Settings

Suite2p includes a built-in classifier to separate real neurons from noise artifacts. For maximum recall (which is your goal), you want to keep the classifier permissive and do your own quality control downstream in the Cellpose GUI.

| Parameter | Recommended Value | Notes |
| --- | --- | --- |
| classifier_path | 0 | 0 = use built-in classifier. Path to custom classifier if you train one. |
| preclassify | 0.0 | Threshold for pre-filtering. 0.0 = keep everything. Raise to 0.3–0.5 to auto-reject noise. |

NOTE Setting preclassify=0.0 keeps all detected components including false positives. This is intentional — you want Suite2p to be liberal with detection so the merge script catches neurons Cellpose missed. Quality control happens in the merge step and during GUI review.

SECTION S4 | Running Suite2p

# S4. Suite2p Batch Processing Script

## S4.1 Headless Script

Save as ~/roigbiv/scripts/run_suite2p.py. This script runs Suite2p on your raw stacks and saves outputs alongside Cellpose results for later merging.

#!/usr/bin/env python3 """ ROI G. Biv — Suite2p spatiotemporal detection on raw stacks. Usage: python run_suite2p.py --input_dir ~/roigbiv/data/raw --fs 30.0 """ import argparse, shutil from pathlib import Path import numpy as np from suite2p import run_s2p, default_ops BASE_DIR = Path.home() / 'roigbiv' S2P_OUT = BASE_DIR / 'suite2p' / 'output' def build_ops(input_dir, fs, tau=1.0): ops = default_ops() ops.update({ # ---- Data ---- 'data_path': [str(input_dir)], 'save_path0': str(S2P_OUT), 'save_folder': 'suite2p', 'nplanes': 1, 'nchannels': 1, 'functional_chan': 1, 'tau': tau, 'fs': fs, # ---- Registration ---- 'do_registration': 1, 'nimg_init': 300, 'batch_size': 500, 'smooth_sigma': 1.15, 'maxregshift': 0.1, 'nonrigid': True, 'block_size': [128, 128], # ---- Detection (permissive for recall) ---- 'spatial_scale': 0, 'threshold_scaling': 1.0, 'max_iterations': 20, 'connected': True, 'nbinned': 5000, 'allow_overlap': False, # ---- Classification (permissive) ---- 'preclassify': 0.0, # ---- Neuropil ---- 'high_pass': 100, 'inner_neuropil_radius': 2, 'min_neuropil_pixels': 350, # ---- Spike deconvolution ---- 'spikedetect': True, }) return ops def main(): ap = argparse.ArgumentParser() ap.add_argument('--input_dir', required=True, help='Directory containing raw .tif stacks') ap.add_argument('--fs', type=float, required=True, help='Frame rate in Hz') ap.add_argument('--tau', type=float, default=1.0, help='Sensor decay time constant in seconds') args = ap.parse_args() input_dir = Path(args.input_dir) S2P_OUT.mkdir(parents=True, exist_ok=True) ops = build_ops(input_dir, args.fs, args.tau) print(f'Running Suite2p on {input_dir}') print(f' Frame rate: {args.fs} Hz') print(f' Tau: {args.tau} s') print(f' Output: {S2P_OUT}') output_ops = run_s2p(ops=ops) print(f'Suite2p complete. {output_ops["nROIs"]} ROIs detected.') print(f'Results saved to: {S2P_OUT}') if __name__ == '__main__': main()

## S4.2 Running the Script

conda activate roigbiv # Basic run (GCaMP6s at 30 Hz) python ~/roigbiv/scripts/run_suite2p.py \ --input_dir ~/roigbiv/data/raw \ --fs 30.0 --tau 1.0 # For GCaMP6f at 30 Hz python ~/roigbiv/scripts/run_suite2p.py \ --input_dir ~/roigbiv/data/raw \ --fs 30.0 --tau 0.7 # Overnight run nohup python ~/roigbiv/scripts/run_suite2p.py \ --input_dir ~/roigbiv/data/raw \ --fs 30.0 --tau 1.0 \ > ~/roigbiv/logs/suite2p_run.out 2>&1 &

## S4.3 Understanding Suite2p Outputs

Suite2p writes its results to a plane0/ subdirectory inside your output path. The key files are:

| File | Contents |
| --- | --- |
| stat.npy | List of dicts, one per detected ROI. Each contains 'ypix', 'xpix' (pixel coordinates), 'lam' (weights), 'med' (centroid), and other spatial features. |
| iscell.npy | N x 2 array. Column 0: binary cell/not-cell classification. Column 1: probability score (0–1). Higher = more likely a real cell. |
| F.npy | N x T fluorescence traces (raw). Rows = ROIs, columns = frames. |
| Fneu.npy | N x T neuropil fluorescence for each ROI. Used for neuropil subtraction: F_corrected = F - 0.7 * Fneu. |
| spks.npy | N x T deconvolved spike estimates. |
| ops.npy | The ops dictionary used for this run, plus computed statistics (reference image, registration offsets, etc.). |

NOTE Suite2p’s iscell.npy classifier predictions are a starting point. You will refine these in the merge step. Neurons with iscell probability > 0.5 are classified as cells by default, but for recall-focused work, consider using a lower threshold (e.g., 0.3).

## S4.4 Expected Processing Times (RTX 4060, 512x512)

| Recording Length | Frame Rate | Approximate Time |
| --- | --- | --- |
| 5 min (9,000 frames) | 30 Hz | 3–5 min |
| 15 min (27,000 frames) | 30 Hz | 8–15 min |
| 30 min (54,000 frames) | 30 Hz | 15–30 min |
| 60 min (108,000 frames) | 30 Hz | 30–60 min |

SECTION S5 | Merging Suite2p and Cellpose ROIs

# S5. The Merge Pipeline

## S5.1 Merge Strategy

The merge script combines ROIs from both tools using an overlap-based matching algorithm. The logic is:

- For each Cellpose ROI, check if a Suite2p ROI overlaps it above a threshold (IoU > 0.3). If so, keep the Cellpose boundary (tighter) and mark the Suite2p ROI as matched.

- After matching, any Suite2p ROIs that remain unmatched are candidate missed neurons. These are added to the merged mask using Suite2p’s spatial footprint.

- The merged mask is saved as a standard uint16 Cellpose-format label mask, ready for GUI review or direct use in retraining.

## S5.2 Merge Script

Save as ~/roigbiv/scripts/merge_rois.py:

#!/usr/bin/env python3 """ Merge Suite2p spatiotemporal ROIs with Cellpose spatial ROIs. Keeps Cellpose boundaries where both agree, adds Suite2p-only detections to fill recall gaps. Usage: python merge_rois.py \ --cellpose_masks ~/roigbiv/data/masks \ --suite2p_dir ~/roigbiv/suite2p/output/suite2p/plane0 \ --output_dir ~/roigbiv/data/merged_masks \ --iscell_threshold 0.3 """ import argparse from pathlib import Path import numpy as np import tifffile def load_suite2p_masks(s2p_dir, shape, iscell_thresh=0.3): """Convert Suite2p stat.npy + iscell.npy to a label mask.""" stat = np.load(s2p_dir / 'stat.npy', allow_pickle=True) iscell = np.load(s2p_dir / 'iscell.npy') mask = np.zeros(shape, dtype=np.uint16) roi_id = 0 for i, s in enumerate(stat): if iscell[i, 1] < iscell_thresh: continue roi_id += 1 ypix = s['ypix'] xpix = s['xpix'] # Clip to image bounds valid = (ypix >= 0) & (ypix < shape[0]) & \ (xpix >= 0) & (xpix < shape[1]) mask[ypix[valid], xpix[valid]] = roi_id return mask, roi_id def compute_iou(mask_a, id_a, mask_b, id_b): """Intersection over union between two specific ROIs.""" a = mask_a == id_a b = mask_b == id_b intersection = np.logical_and(a, b).sum() union = np.logical_or(a, b).sum() return intersection / union if union > 0 else 0.0 def merge_masks(cp_mask, s2p_mask, iou_threshold=0.3): """ Merge Cellpose and Suite2p masks. Priority: Cellpose boundaries for matched ROIs, Suite2p footprints for unmatched (missed) neurons. """ merged = cp_mask.copy() next_id = cp_mask.max() + 1 cp_ids = set(np.unique(cp_mask)) - {0} s2p_ids = set(np.unique(s2p_mask)) - {0} # Find Suite2p ROIs that match Cellpose ROIs matched_s2p = set() for s2p_id in s2p_ids: s2p_pixels = s2p_mask == s2p_id overlapping_cp = set(np.unique(cp_mask[s2p_pixels])) - {0} for cp_id in overlapping_cp: iou = compute_iou(cp_mask, cp_id, s2p_mask, s2p_id) if iou >= iou_threshold: matched_s2p.add(s2p_id) break # Add unmatched Suite2p ROIs (the recall gains) added = 0 for s2p_id in s2p_ids - matched_s2p: s2p_pixels = s2p_mask == s2p_id # Only add if it does not heavily overlap existing merged ROIs overlap_frac = (merged[s2p_pixels] > 0).sum() / s2p_pixels.sum() if overlap_frac < 0.3: merged[s2p_pixels & (merged == 0)] = next_id next_id += 1 added += 1 return merged, added def main(): ap = argparse.ArgumentParser() ap.add_argument('--cellpose_masks', required=True) ap.add_argument('--suite2p_dir', required=True, help='Path to suite2p plane0 directory') ap.add_argument('--output_dir', required=True) ap.add_argument('--iscell_threshold', type=float, default=0.3) ap.add_argument('--iou_threshold', type=float, default=0.3) args = ap.parse_args() cp_dir = Path(args.cellpose_masks) s2p_dir = Path(args.suite2p_dir) out_dir = Path(args.output_dir) out_dir.mkdir(parents=True, exist_ok=True) # Get image shape from first Cellpose mask first_mask = next(cp_dir.glob('*_masks.tif')) ref_shape = tifffile.imread(first_mask).shape[-2:] # Load Suite2p detections as a label mask print('Loading Suite2p ROIs...') s2p_mask, n_s2p = load_suite2p_masks( s2p_dir, ref_shape, args.iscell_threshold) print(f' {n_s2p} Suite2p ROIs (iscell > {args.iscell_threshold})') # Process each Cellpose mask for cp_path in sorted(cp_dir.glob('*_masks.tif')): stem = cp_path.stem.replace('_masks', '') cp_mask = tifffile.imread(cp_path) n_cp = cp_mask.max() merged, n_added = merge_masks( cp_mask, s2p_mask, args.iou_threshold) out_path = out_dir / f'{stem}_masks.tif' tifffile.imwrite(out_path, merged.astype(np.uint16)) n_total = merged.max() print(f'{stem}: {n_cp} Cellpose + {n_added} Suite2p-only' f' = {n_total} merged ROIs') print(f'\nMerged masks saved to: {out_dir}') if __name__ == '__main__': main()

## S5.3 Running the Merge

conda activate roigbiv # First, run Cellpose inference (from base guide Section 7.1) python ~/roigbiv/scripts/run_inference.py \ --input_dir ~/roigbiv/data/annotated --diameter 12 # Then merge with Suite2p results python ~/roigbiv/scripts/merge_rois.py \ --cellpose_masks ~/roigbiv/inference/output \ --suite2p_dir ~/roigbiv/suite2p/output/suite2p/plane0 \ --output_dir ~/roigbiv/data/merged_masks \ --iscell_threshold 0.3 \ --iou_threshold 0.3

## S5.4 Tuning Merge Parameters

| Parameter | Guidance |
| --- | --- |
| iscell_threshold | Controls how permissive Suite2p’s neuron classification is. Lower values (0.1–0.3) include more candidate neurons but also more noise. Start at 0.3 and decrease if you’re still missing neurons. |
| iou_threshold | Minimum overlap to consider a Suite2p ROI as matching a Cellpose ROI. At 0.3, small positional offsets are tolerated. Raise to 0.5 if you see too many duplicate ROIs. |
| overlap_frac (in script) | Maximum overlap an added Suite2p ROI can have with existing merged ROIs (0.3). Prevents stacking duplicate detections on the same neuron. |

SECTION S6 | Review, Retraining, and Updated Workflow

# S6. Reviewing Merged Masks in the Cellpose GUI

## S6.1 GUI Review of Merged Output

The merged masks should be reviewed before use in retraining. Suite2p-added ROIs may include false positives (neuropil artifacts, noise). The review workflow is identical to Section 6 of the base guide, but uses the merged masks instead:

- Copy merged masks into the annotated directory alongside the mean projections, renaming them to match the Cellpose GUI’s expected naming convention.

- Open the Cellpose GUI: python -m cellpose --gpu

- Load each mean projection. Instead of running segmentation, load the corresponding merged mask (File > Load Masks).

- Review the Suite2p-added ROIs (typically the higher-numbered labels). Delete any that are clearly not neurons. Adjust boundaries where needed.

- Save corrected masks (Ctrl+S). The GUI writes *_seg.npy files as usual.

- Ingest corrections: python ~/roigbiv/scripts/ingest_corrections.py

NOTE Focus your review time on the Suite2p-only additions. The Cellpose ROIs have already been validated in earlier iterations. If reviewing is too time-consuming, start by only reviewing FOVs where Suite2p added more than 10% new ROIs — these are the high-value corrections.

## S6.2 Retraining Cellpose with Merged Data

After reviewing and correcting the merged masks, retrain Cellpose using the updated training set. The corrected merged masks now include the previously-missed neurons, teaching Cellpose to detect them from the mean projection alone.

# Validate the updated dataset python ~/roigbiv/scripts/validate_dataset.py # Retrain from cyto3 with expanded dataset python ~/roigbiv/scripts/train.py \ --run_id run_merged_001 \ --epochs 200 \ --lr 0.05 \ --base_model cyto3

After retraining, run Cellpose inference again on the same FOVs and compare ROI counts to the pre-merge model. The retrained model should now detect a larger fraction of the neurons that previously required Suite2p to find.

## S6.3 Updated Combined Workflow

The full pipeline with Suite2p integration follows this sequence:

| Step | Tool | Output |
| --- | --- | --- |
| 1. Projections | make_projections.py | Mean/max .tif files |
| 2. Suite2p detection | run_suite2p.py | stat.npy, iscell.npy, F.npy, spks.npy |
| 3. Cellpose inference | run_inference.py | Cellpose mask .tif files |
| 4. Merge ROIs | merge_rois.py | Combined mask .tif files |
| 5. GUI review | Cellpose GUI | Corrected *_seg.npy |
| 6. Ingest corrections | ingest_corrections.py | Updated _masks.tif in masks/ |
| 7. Retrain Cellpose | train.py | Improved model checkpoint |
| 8. Evaluate | Compare ROI counts | Agreement rate metric |

Over successive iterations, Cellpose learns from the Suite2p-assisted annotations and its standalone recall improves. The eventual goal is convergence: a retrained Cellpose model that independently detects the same neurons Suite2p finds, without needing the full-stack temporal analysis at inference time. At that point, Suite2p becomes an optional validation step rather than a required pipeline component.

SECTION S7 | Troubleshooting

# S7. Troubleshooting

## S7.1 Suite2p Issues

| Symptom | Fix |
| --- | --- |
| Suite2p detects very few ROIs | Decrease threshold_scaling from 1.0 to 0.5. Also check that fs (frame rate) is correct — wrong fs causes the temporal model to misestimate transient shapes. |
| Suite2p detects too many artifacts | Increase iscell_threshold in the merge script (e.g., 0.5). Or increase preclassify to 0.3 in the ops dict. |
| CUDA out of memory during registration | Reduce batch_size from 500 to 200. Registration is the most memory-intensive step. |
| Suite2p output directory empty | Check that data_path points to the correct directory and that your .tif files are readable by tifffile. Suite2p expects multi-frame TIFFs. |
| Merge script produces duplicate ROIs | Increase iou_threshold from 0.3 to 0.5. This makes the matching stricter. |
| Shape mismatch between Suite2p and Cellpose masks | Suite2p operates on the full-resolution raw stack while Cellpose uses projections. Ensure your projections are the same XY dimensions as the raw frames. |

## S7.2 When Suite2p Helps Most vs. Least

| High Value (use Suite2p) | Low Value (Cellpose alone is fine) |
| --- | --- |
| Sparsely-firing neurons in dense FOVs | Dense, uniformly active populations |
| Dim neurons near the noise floor | Bright, high-SNR recordings |
| Neurons that fire only during specific behavioral epochs | Spontaneous activity with all neurons active |
| Overlapping neurons at different depths (Suite2p can separate by temporal activity) | Well-separated somata with no overlap |
| Long recordings where rare events matter | Short recordings where most neurons fire |

## S7.3 Performance Notes

Suite2p is fast but memory-hungry. The registration step loads the full binary movie into RAM. For a 30-minute recording at 512x512 and 30 Hz, expect roughly 6–8 GB of RAM usage beyond GPU VRAM. Your 16 GB DDR5 is sufficient for most single-session recordings, but very long recordings (> 60 min) may require setting ops['frames_include'] to process a subset, or splitting the .tif file into shorter segments.

ROI G. Biv + Suite2p — because even a single flicker deserves to be found.