Fine-Tuning Cellpose

for Two-Photon Calcium Imaging

A Step-by-Step Guide for First-Time Users

About This Document

This guide walks through the complete workflow for training a custom Cellpose model on your lab’s manually annotated ROIs, from environment setup through iterative retraining. No prior machine learning experience is assumed.

# Overview and Prerequisites

Cellpose is a generalist cell segmentation algorithm built on a neural network that can be fine-tuned on custom imaging data. For two-photon calcium imaging, the goal is to train Cellpose to recognize your lab’s specific criteria for what constitutes a valid ROI — matching the judgment of whoever manually draws them — so that the model produces results your team will trust.

## What Fine-Tuning Means

Cellpose ships with pretrained models (cyto, cyto2, nuclei) that already understand general cell morphology. Fine-tuning takes one of these as a starting point and adapts its weights using your specific labeled images. This is far more efficient than training from scratch and typically yields good results with 50–200 annotated images.

## Prerequisites

### Software Knowledge

- Basic comfort with the command line (navigating directories, running commands)

- Basic Python familiarity (running scripts, installing packages)

- No deep learning or ML experience required

### Hardware Requirements

- NVIDIA GPU with at least 6 GB VRAM (8–24 GB recommended for faster training)

- 16 GB system RAM minimum; 32–64 GB recommended for large datasets

- 50 GB free disk space for data, models, and environments

- Linux (Ubuntu 22.04 recommended) or Windows 10/11 with WSL2

Note on CPU-only training Fine-tuning Cellpose is technically possible without a GPU, but training on CPU is roughly 20–50x slower. For a dataset of 100 images, CPU training may take 12–24 hours vs. 30–60 minutes on a GPU. Inference (running the model after training) is more feasible on CPU if needed.

### Data Requirements

- Two-photon mean projection or max projection images (.tif format preferred)

- Corresponding ROI masks from your existing manual annotations

- At minimum 30–50 annotated image/mask pairs to start; 100+ is better

- Images should span a range of conditions: different depths, signal qualities, prep dates

# Step 1: Setting Up Your Environment

A clean, isolated Python environment is essential. We will use Conda (via Miniconda) to manage dependencies. This prevents conflicts with other Python packages on your system.

## 1.1 Install Miniconda

If Conda is not already installed on your system, install Miniconda (a minimal Conda installer):

wget https://repo.anaconda.com/miniconda/Miniconda3-latest-Linux-x86_64.sh

bash Miniconda3-latest-Linux-x86_64.sh

Follow the prompts and allow it to initialize Conda in your shell. Restart your terminal or run:

source ~/.bashrc

## 1.2 Install NVIDIA Drivers and CUDA

Before creating the Python environment, ensure your NVIDIA GPU drivers and CUDA toolkit are installed. On Ubuntu 22.04:

sudo ubuntu-drivers autoinstall

sudo reboot

After rebooting, verify your GPU is detected:

nvidia-smi

You should see a table showing your GPU name, driver version, and CUDA version. Note the CUDA version shown — you will need it in the next step. Install the CUDA toolkit via the NVIDIA .deb repo rather than apt directly, as the apt version often lags. Instructions specific to your CUDA version are available at developer.nvidia.com/cuda-downloads.

## 1.3 Create the Cellpose Conda Environment

Create a new environment named 'cellpose-env' with Python 3.10:

conda create -n cellpose-env python=3.10

conda activate cellpose-env

Install PyTorch with CUDA support. Replace 'cu121' with your CUDA version (e.g., cu118 for CUDA 11.8, cu121 for CUDA 12.1):

pip install torch torchvision --index-url https://download.pytorch.org/whl/cu121

Verify that PyTorch can see your GPU:

python -c "import torch; print(torch.cuda.is_available())"

This should print 'True'. If it prints 'False', your CUDA installation needs attention before continuing.

## 1.4 Install Cellpose and napari

Install Cellpose with its GUI dependencies, and napari for visual review of results:

pip install cellpose[gui]

pip install napari[all] napari-cellpose

Test that Cellpose installed correctly:

python -c "import cellpose; print(cellpose.__version__)"

Environment Tip Always activate your conda environment before any work: run 'conda activate cellpose-env' at the start of each session. You can check which environment is active by looking for the environment name in parentheses at the start of your terminal prompt.

# Step 2: Preparing Your Training Data

The quality of your training data is the single most important factor in model performance. This step covers how to organize your images and convert your ROI annotations into the mask format Cellpose expects.

## 2.1 Understanding Cellpose Mask Format

Cellpose expects labeled masks where each unique integer value corresponds to a single cell. The background must be 0. For example, a field of view with 47 neurons would have a mask image where pixels belonging to the first cell are labeled 1, the second cell 2, and so on up to 47. Pixels not belonging to any ROI are labeled 0.

This is called an instance segmentation mask, distinct from a binary mask (which would only indicate cell vs. non-cell without distinguishing individuals).

## 2.2 Directory Structure

Organize your data with the following structure. Cellpose expects images and masks to be in the same folder, with masks having the same filename as their corresponding image plus a '_seg.npy' suffix (Cellpose native) or as a paired .tif with matching name:

/training_data/

/images/

fov_001.tif

fov_002.tif

...

/masks/

fov_001_seg.npy   (or fov_001_masks.tif)

fov_002_seg.npy

...

Preferred Format Cellpose natively saves masks as '_seg.npy' files (NumPy arrays). If your lab uses a different ROI format (e.g., ImageJ .roi files, .mat files, or NWB), you will need a conversion script. See Section 2.4 for conversion guidance.

## 2.3 Image Preprocessing

Two-photon images benefit from consistent preprocessing before training. Apply the same preprocessing pipeline to both training images and future images you will run inference on. Recommended steps:

- Normalize intensity: rescale each image to the 1st–99th percentile range (clips outliers without losing structure)

- Convert to 16-bit or 32-bit float before normalization; Cellpose handles this internally but explicit normalization gives more consistent results

- Generate both mean projection and max projection from your z-stack or trial stack; max projection often highlights ROI boundaries more clearly

- Optionally compute a pixel-wise temporal correlation image (correlating each pixel’s fluorescence trace over time) as an additional input channel

A minimal preprocessing example in Python:

import tifffile, numpy as np

img = tifffile.imread('raw_stack.tif')     # shape: (T, Y, X)

mean_proj = img.mean(axis=0)

max_proj = img.max(axis=0)

# Normalize to 0-1 range

p1, p99 = np.percentile(mean_proj, [1, 99])

normed = np.clip((mean_proj - p1) / (p99 - p1), 0, 1)

tifffile.imwrite('fov_001.tif', normed.astype(np.float32))

## 2.4 Converting Existing ROI Annotations

If your lab currently uses ImageJ/Fiji ROI Manager for manual annotation, use the following approach to export masks compatible with Cellpose:

- In Fiji: open your image and ROI set, then run Analyze > Tools > ROI Manager

- Select all ROIs and use More > OR (Combine) to create a combined selection

- Use a macro or the Bio-Formats exporter to save as a labeled mask TIF

A Python script to convert a Fiji ROI zip to a labeled mask using the roifile package:

pip install roifile

import roifile, numpy as np, tifffile

rois = roifile.roiread('RoiSet.zip')

img = tifffile.imread('fov_001.tif')

mask = np.zeros(img.shape[-2:], dtype=np.uint16)

for idx, roi in enumerate(rois, start=1):

coords = roi.coordinates()

# Fill polygon for each ROI

from skimage.draw import polygon

rr, cc = polygon(coords[:,1], coords[:,0], mask.shape)

mask[rr, cc] = idx

tifffile.imwrite('fov_001_masks.tif', mask)

## 2.5 Train/Validation Split

Reserve roughly 15–20% of your annotated images as a held-out validation set. These images will not be used during training but will be used to evaluate model performance and detect overfitting. With 100 images, use approximately 80 for training and 20 for validation. Keep the split random but stratified — include examples of all imaging conditions in both sets.

# Step 3: Fine-Tuning the Model

With prepared data and a working environment, you are ready to run fine-tuning. Cellpose provides both a GUI and a Python API for training. This guide covers the Python API approach, which is more reproducible and scriptable.

## 3.1 Choosing a Starting Model

Cellpose provides several pretrained models to start from. For neuron soma detection in two-photon imaging, the recommended starting points are:

| Model | Best For |
| --- | --- |
| cyto2 | General cytoplasm; recommended starting point for most two-photon neuron imaging |
| nuclei | Nuclear-stained images; also useful if soma appear as bright blobs with dark surrounds |
| cyto3 | Latest general model; worth testing if cyto2 fine-tuning results are unsatisfactory |

When in doubt, start with cyto2. If results are poor after fine-tuning, try cyto3 as the base.

## 3.2 The Training Script

Save the following as 'train_cellpose.py' and edit the paths to match your directory structure:

from cellpose import models, io, train

import os, glob, numpy as np

# ---- CONFIGURE THESE PATHS ----

TRAIN_DIR   = '/path/to/training_data/train/'

VAL_DIR     = '/path/to/training_data/val/'

OUTPUT_DIR  = '/path/to/models/'

MODEL_NAME  = 'my_twophoton_model'

BASE_MODEL  = 'cyto2'           # starting pretrained model

N_EPOCHS    = 100               # start here; increase if underfitting

LEARNING_RATE = 0.1

WEIGHT_DECAY  = 0.0001

BATCH_SIZE    = 8               # reduce to 4 if you run out of GPU memory

# --------------------------------

# Load training images and masks

train_images = [io.imread(f) for f in

sorted(glob.glob(os.path.join(TRAIN_DIR, '*.tif')))

if '_masks' not in f]

train_masks = [io.imread(f) for f in

sorted(glob.glob(os.path.join(TRAIN_DIR, '*_masks.tif')))]

val_images = [io.imread(f) for f in

sorted(glob.glob(os.path.join(VAL_DIR, '*.tif')))

if '_masks' not in f]

val_masks = [io.imread(f) for f in

sorted(glob.glob(os.path.join(VAL_DIR, '*_masks.tif')))]

print(f'Training on {len(train_images)} images, validating on {len(val_images)}'

# Initialize model from pretrained weights

model = models.CellposeModel(gpu=True, model_type=BASE_MODEL)

# Run fine-tuning

model_path, train_losses, val_losses = train.train_seg(

model.net,

train_data=train_images,

train_labels=train_masks,

test_data=val_images,

test_labels=val_masks,

save_path=OUTPUT_DIR,

save_every=10,           # checkpoint every 10 epochs

model_name=MODEL_NAME,

learning_rate=LEARNING_RATE,

weight_decay=WEIGHT_DECAY,

n_epochs=N_EPOCHS,

batch_size=BATCH_SIZE,

)

print(f'Model saved to: {model_path}')

Run the training script:

conda activate cellpose-env

python train_cellpose.py

## 3.3 Monitoring Training

During training, Cellpose prints the training loss and validation loss after each epoch. What to watch for:

- Both training and validation loss should decrease over the first 20–40 epochs

- If training loss decreases but validation loss stops decreasing or increases, the model is overfitting — stop training or add more training data

- If neither loss decreases meaningfully after 30 epochs, try a lower learning rate (0.01) or a different base model

- Save the epoch number where validation loss is lowest — this is your best model checkpoint

GPU Memory Error If you see a CUDA out of memory error, reduce BATCH_SIZE from 8 to 4, or from 4 to 2. Smaller batches use less GPU memory at the cost of slightly noisier gradient updates. Training will still work correctly.

## 3.4 Training Time Estimates

| GPU | 100 images / 100 epochs | Notes |
| --- | --- | --- |
| RTX 4090 | ~25–45 minutes | Recommended desktop GPU |
| RTX 4070 (laptop) | ~1–2 hours | Feasible for occasional retraining |
| CPU only | 12–24+ hours | Not recommended for regular use |

# Step 4: Running Inference

Once you have a trained model, running it on new images is straightforward. The following covers how to run inference on a single image and on a batch of images.

## 4.1 Single Image Inference

from cellpose import models, io

import numpy as np, tifffile

MODEL_PATH = '/path/to/models/my_twophoton_model'

IMAGE_PATH = '/path/to/new_image.tif'

# Load your fine-tuned model

model = models.CellposeModel(gpu=True, pretrained_model=MODEL_PATH)

# Load and preprocess image

img = tifffile.imread(IMAGE_PATH)

# Run segmentation

# diameter=None lets Cellpose estimate cell size automatically

# channels=[0,0] means grayscale input

masks, flows, styles = model.eval(

img,

diameter=None,

channels=[0, 0],

flow_threshold=0.4,    # increase to be more selective

cellprob_threshold=0.0 # decrease to detect more cells

)

print(f'Detected {masks.max()} ROIs')

tifffile.imwrite('output_masks.tif', masks.astype(np.uint16))

## 4.2 Key Inference Parameters

Two parameters control the sensitivity vs. precision tradeoff and are worth tuning on a few held-out images before committing to a batch run:

- flow_threshold (default 0.4): Higher values (e.g., 0.6–0.8) make the model more conservative, reducing false positives but potentially missing real cells. Lower values (e.g., 0.2–0.3) detect more cells but may include noise.

- cellprob_threshold (default 0.0): Increasing this (e.g., to 0.5 or 1.0) requires higher confidence before a region is labeled as a cell. Start at 0.0 and adjust upward if you see too many false positives.

- diameter: If you know the typical soma diameter in pixels, provide it explicitly (e.g., diameter=12 for 12-pixel soma). This can improve consistency. Run a few images with diameter=None first to see what Cellpose estimates, then use that value.

## 4.3 Batch Processing

from cellpose import models, io

import glob, os, tifffile, numpy as np

MODEL_PATH = '/path/to/models/my_twophoton_model'

INPUT_DIR  = '/path/to/new_images/'

OUTPUT_DIR = '/path/to/output_masks/'

os.makedirs(OUTPUT_DIR, exist_ok=True)

model = models.CellposeModel(gpu=True, pretrained_model=MODEL_PATH)

image_paths = sorted(glob.glob(os.path.join(INPUT_DIR, '*.tif')))

for img_path in image_paths:

img = tifffile.imread(img_path)

masks, _, _ = model.eval(img, diameter=None, channels=[0,0])

out_name = os.path.basename(img_path).replace('.tif', '_masks.tif')

tifffile.imwrite(os.path.join(OUTPUT_DIR, out_name),

masks.astype(np.uint16))

print(f'Processed {os.path.basename(img_path)}: {masks.max()} ROIs')

# Step 5: Reviewing Results in napari

Rather than using the model output blindly, the recommended workflow is semi-automated: the model proposes ROIs, and a lab member does a quick review to accept, reject, or correct them. napari provides an excellent interface for this.

## 5.1 Launching napari

conda activate cellpose-env

napari

napari opens as a standalone GUI window. From here you can drag and drop image files directly into the viewer.

## 5.2 Loading Images and Masks

You can review results programmatically using the napari Python API, which is useful for building a review script:

import napari, tifffile

img   = tifffile.imread('fov_001.tif')

masks = tifffile.imread('fov_001_masks.tif')

viewer = napari.Viewer()

viewer.add_image(img, name='Two-Photon Image', colormap='gray')

viewer.add_labels(masks, name='Predicted ROIs')

napari.run()

The Labels layer in napari allows you to:

- Paint new ROIs by selecting the paint brush tool and drawing directly on the image

- Erase incorrectly detected regions using the eraser tool

- Fill enclosed regions using the fill bucket

- Cycle through existing labels to inspect individual ROIs

## 5.3 Saving Corrected Masks

After making corrections in napari, save the updated mask:

import numpy as np, tifffile

# Access the Labels layer data

corrected_masks = viewer.layers['Predicted ROIs'].data

tifffile.imwrite('fov_001_masks_corrected.tif',

corrected_masks.astype(np.uint16))

Building Trust Tracking agreement rates between the model’s initial output and the corrections made during review is a powerful way to demonstrate improving performance over time. Even a simple log of '47 ROIs proposed, 3 deleted, 2 added' per session gives you a quantitative record of model accuracy.

# Step 6: Post-Processing and Trace Extraction

Raw model output may include spurious detections that pass visual review but have poor functional signals. A second layer of filtering based on fluorescence trace properties is standard practice.

## 6.1 Size-Based Filtering

Filter out ROIs that are implausibly small (noise) or large (merged cells):

import numpy as np, tifffile

from skimage import measure

masks = tifffile.imread('fov_001_masks.tif')

MIN_AREA = 20   # pixels; adjust based on your imaging resolution

MAX_AREA = 400  # pixels

props = measure.regionprops(masks)

filtered = np.zeros_like(masks)

new_label = 1

for region in props:

if MIN_AREA <= region.area <= MAX_AREA:

filtered[masks == region.label] = new_label

new_label += 1

print(f'{new_label-1} ROIs passed size filter')

## 6.2 Extracting Fluorescence Traces

Once masks are finalized, extract the mean fluorescence trace for each ROI from the raw imaging stack:

import numpy as np, tifffile

stack = tifffile.imread('raw_stack.tif')   # shape: (T, Y, X)

masks = tifffile.imread('fov_001_masks_corrected.tif')

n_rois = masks.max()

n_frames = stack.shape[0]

traces = np.zeros((n_rois, n_frames))

for roi_idx in range(1, n_rois + 1):

roi_mask = masks == roi_idx

traces[roi_idx - 1] = stack[:, roi_mask].mean(axis=1)

np.save('fov_001_traces.npy', traces)

print(f'Extracted {n_rois} traces of length {n_frames}')

# Step 7: Iterative Retraining

The model will improve substantially with each round of retraining on corrected outputs. This is the most important long-term step and is what makes the model increasingly tailored to your lab’s standards.

## 7.1 The Active Learning Loop

The recommended workflow is:

- Run the current model on new images

- Review and correct in napari; save corrected masks

- Add corrected image/mask pairs to your training set

- Retrain the model (starting from the current fine-tuned model, not from cyto2)

- Evaluate on the validation set; if performance improved, deploy the new model

- Repeat from step 1

After 3–5 retraining cycles with consistently corrected data, most labs see the manual correction burden drop to less than 5–10 ROI changes per field of view.

## 7.2 Retraining from Your Own Model

When retraining, use your current fine-tuned model as the starting point rather than the original pretrained model. Change only one line in your training script:

# Change this line:

model = models.CellposeModel(gpu=True, model_type=BASE_MODEL)

# To this (point to your last trained model):

model = models.CellposeModel(gpu=True, pretrained_model=MODEL_PATH)

## 7.3 Versioning Your Models

Name models with a version and date to keep track of iterations. A suggested convention:

twophoton_v1_2024-01.pt   # first training run

twophoton_v2_2024-02.pt   # after first correction round

twophoton_v3_2024-04.pt   # after second correction round

Keep All Versions Never delete old model checkpoints. If a retraining run degrades performance (it happens, usually due to a batch of noisy annotations), you can always roll back to the previous version and investigate what caused the regression.

# Step 8: Troubleshooting Common Issues

## Model Detects Too Few Cells

- Lower cellprob_threshold (try -0.5 or -1.0)

- Lower flow_threshold (try 0.2 or 0.3)

- Check that your training masks include all cells your lab would manually draw — if some were missed during annotation, the model will learn to miss them too

- Try training for more epochs (150–200) if validation loss was still decreasing at epoch 100

## Model Detects Too Many False Positives

- Increase cellprob_threshold (try 0.5 or 1.0)

- Increase flow_threshold (try 0.6 or 0.7)

- Check that your training masks correctly have background = 0 with no unlabeled cells in the field of view (unlabeled cells teach the model that those regions are background)

## Cell Boundaries Are Inaccurate

- Add more training examples with carefully drawn boundaries

- Ensure your preprocessing normalizes images consistently

- Verify that mask labels are correctly aligned with image files — a one-off filename mismatch causes the model to train on incorrectly paired data

## Training Loss Does Not Decrease

- Verify that GPU is being used: model = models.CellposeModel(gpu=True) and that torch.cuda.is_available() returns True

- Try a lower initial learning rate (0.01 instead of 0.1)

- Check that image files are not corrupted: open several in napari before training

## ImportError or Package Conflicts

- Ensure you are in the correct conda environment: conda activate cellpose-env

- Reinstall cellpose: pip install --upgrade cellpose[gui]

- If napari crashes, try installing a specific pinned version: pip install 'napari==0.4.18'

# Quick Reference Checklist

Use this checklist at the start of each new training or inference session.

## First-Time Setup (once only)

- Miniconda installed and conda initialized

- NVIDIA drivers installed and nvidia-smi shows GPU

- CUDA toolkit installed and torch.cuda.is_available() returns True

- cellpose-env conda environment created with PyTorch, Cellpose, and napari

## Before Each Training Run

- conda activate cellpose-env confirmed

- Training images normalized and saved as .tif

- Masks converted to labeled format (integer per cell, 0 = background)

- Train/validation split maintained (no overlap)

- Output model directory exists and has write permissions

## After Each Training Run

- Check training and validation loss curves for overfitting

- Run inference on 5–10 held-out images and review in napari

- Record model version and date in a lab notebook

- Compare ROI counts and boundaries to manual annotations

## Regular Retraining Cycle

- Collect corrected masks from napari review sessions

- Append new image/mask pairs to training set

- Retrain from current model (not from cyto2)

- Validate on fixed held-out set and compare to previous version

- Archive previous model version before deploying new one

End of Document